ERG EQUIPMENT/DARKROOM PROCEDURES

Failure to follow these procedures will result in loss of access to the ERG equipment.

- Access Policy

- All users must be trained before a user account is activated. Contact Systems Analysts to schedule training sessions.

- The ERG equipment is Password protected. You must log on to use it.

- Do not share your password with other users.

- Do not allow anyone to work under your logon.

- Availability

- ERG equipment and the attached Darkroom are available 24 hours/day and 7 days/week.

- Sign up using Google Calendar during working hours at least 48 hours in advance of your session.

- There are four six-hour sessions available per day:

Session 1.		7:00 a.m. – 1:00 p.m.

Session 2.		1:00 p.m. – 7:00 p.m.

Session 3.		7:00 p.m. – 1:00 a.m.

Session 4.		1:00 a.m. – 7:00 a.m.

- If you need more than one 6-hour session/ day, you must have permission from the Systems Analysts.

- If you need less than 6 hours, indicate your actual time of use on the Google Calendar.

- If you must cancel your ERG session, you must delete your sign-up on the Google Calendar.

- Those who consistently sign up but do not use their reserved times will lose access to the ERG equipment.

- Users will be notified of maintenance downtime at least one week prior to scheduled maintenance.

- ERG Equipment Use

- Do not change any computer settings.

- Do not attempt to repair the equipment if it is not functioning. Contact System Analysts immediately.

- If reagent supplies are low, contact Systems Analysts.

- Fill out the ERG Use Log sheet at the end of each session.

- Clean the work area and lock the door when your session is complete.

- Darkroom Use

- If you are dark-adapting animals, print your name, phone number, and date/time of dark-adaptation on the white board outside the room.

- If your animals will need food/water during adaptation, schedule care in advance with Mark Dittmar.

- Clean the area and lock the door when adaptation is complete.

- Systems Analysts Contact Information

Feng Li: feng-li@ouhsc.edu 	42820 or 229-8717

Nanette Wheatley: nanette-wheatley@ouhsc.edu 	698-6235

Failure to follow these procedures will result in loss of access to the ERG equipment.